The transmission of electricity

Electricity is generated in power stations and from there it is transmitted across the country by power cables to towns and villages. As you know, all cables have resistance and so as the electricity passes through them it will lose energy as heat in the cable.

[image: image1.jpg]


The energy lost in a power cable that is carrying a current I and is of resistance R is given by the formula:

As you can see the power loss depends on the resistance of the cable and so to reduce this power loss the resistance of the cable must be as small as possible.

The resistance of a given length of cable can be reduced by:

(a)
using thicker cables — but this will make them too heavy;

(b)
using material which is a better electrical conductor such as silver — much too expensive;

(c)
cooling the cables with a jacket of liquid hydrogen — too expensive.

So changing the resistance is not a practical idea, but the current passing through the cable can be altered using a transformer. An example of this is shown next.

This is an enormous saving - and for this reason electricity is transmitted at low current and high voltage. To keep the power loss as small as possible the transmitted voltage is very high. Electricity generated in a power station at 25 000 V (25 kV) is stepped up to 275 kV or 400 kV for transmission across large distances. Near towns, villages and industrial sites there are transformers that step down the voltage ready for use. The photograph shows a transformer on a pole in farmland.

A simple model power line may be made in the laboratory using inputs and outputs of 12 V and stepping it up for transmission down 2 m of 28 SWG constantan wire to 120 V. (See 14-16 Experiments)

The grid system

The diagram shows how electricity is transmitted round the country by the national grid system. Note the step-up and step-down transformers and the voltages used.


Power loss (W) = I2R





Example


Resistance of power cable 0.1 /km.


(a)	Let the current in the power cable be 1000 A. Power loss=1000x1000x0.1 =	100 000 W.


(b)	Now use a 1000:1 step-up transformer to gives a current in the power cable of 1 A.


Power loss = 1x1x0.1 = 0.1 W.        (Both these would be the power loss/km)








T - transformer





Power station





132 kV





400 kV





light industry





heavy industry





town





village





farm





T





T





T





T





T





T








