Absorption of X-rays

When X-rays pass through matter such as a human body they will lose energy in one or more of the fol​lowing ways:  

(a) Scattering – the energy of the X ray photon is not sufficient to cause electron emission from the atom (see Compton scattering) – 1 to 30 keV

(b) The photoelectric effect - an X-ray photon transfers all its energy to an electron which then escapes from the atom – 1 to 100 keV

(c) Compton scattering - an X-ray photon col​lides with a loosely-bound outer electron. At the col​lision the electron gains some energy and a scattered X-ray photon is produced travelling in a different direction from the incident photon and with a lower energy – 0.5 to 5 MeV

(d) Pair production - an X-ray photon with an energy greater than 1.02 MeV enters the intense elec​tric field at the nucleus. It may be converted into particles, a positron and an electron. These two particles usually annihilate each other producing two photons, each of energy 511 keV – above 5 MeV.

In a vacuum the intensity (I) of the X ray beam will fall off as the inverse of the square of the distance (d) from the source.

I = Io/d2
In a material where one or more of the absorption processes mentioned above occur the intensity of the beam falls of by a constant fraction dI as the beam passes though unit distance of the material.

In other words:   -dI/I = dx where m is a constant for the material.

The constant () is known as the total linear attenuation coefficient and this depends on both the medium and the energy of the X rays.

Half value thickness

This is the thickness of the material which is needed to reduce the intensity (I) of the X ray beam to one half the intensity of the incident radiation (Io).

Since : I = Ioe-x   if I/Io = ½   then e-x = ½ and so 


The graph shown in Figure 1 is for an X beam of one energy - monoenergetic. In this case the half value thickness of the material is always the same no matter how much the original intensity has been reduced. If the beam has a spread of energies then the further through the material the X ray beam passes the longer the half value thickness becomes.

This is because the lower energy X rays in the beam are absorbed more easily than the higher energy ones. 

This is shown in Figure 2. The X ray beam contains a greater proportion of higher energy X rays the further into the material it penetrates. This is said to be a 'hardening' of the beam.


Therefore as the beam goes deeper into the material the 'average' energy of the X rays in the beam increases and so a greater thickness of absorber is needed to further reduce the beam intensity by a half.


Figure 3 shows the graph for a beam of X rays with a spread of energy. It shows that the absorption curve flattens as the beam penetrates further into the material and the half value thickness also increases.

The equivalent energy of an X ray beam is shown by its half value thickness in a particular material. For example X rays from an X ray tube with a peak anode voltage of 80 kV have a half value thickness of about 3 mm of aluminium. However the half value thickness for a 28 keV monoenergetic beam of X rays is 3 mm of aluminium and so the equivalent energy of the 80 kV X ray beam is 28 keV.

The quality of the beam is determined by the spread of X ray energies across the spectrum 

(See: 16-19/Atomic physics/X rays/Text/X ray spectra)

Figure 1





Half value thickness (t) = ln 2/ = 0.693/





4t





3t





2t





t





200





100





Thickness


(x)





X ray intensity





3t





2t





t





200





100





Thickness (x)





X ray intensity





Figure 3





More of the lower energy X rays absorbed here





More of the higher energy X rays absorbed here





Less intense but 'harder' X ray beam





X ray beam with a spread of wavelengths





Material





Figure 2





Material





X ray beam with a spread of wavelengths





Less intense but 'harder' X ray beam





More of the higher energy X rays are absorbed here





More of the lower energy X rays are absorbed here





Figure 2








PAGE  
2

