GAMMA RAY ABSORPTION

DANGER. GAMMA RADIATION. TAKE SENSIBLE PRECAUTIONS AND ONLY HANDLE SOURCES WITH TONGS. RETURN SOURCES TO A MEMBER OF STAFF IMMEDIATELY AFTER USE.

AIM

The aim of this experiment is to investigate the absorption of gamma radiation when it passes through different thicknesses of lead.

YOU WILL NEED

A Geiger tube, lead and stand

A source holder

A gamma source (usually radium 226 or cobalt 60 kBq)

A set of aluminium absorbers

Tweezers

A ratemeter (or scaler and stopwatch)

A micrometer screw gauge

A ruler

A radioactivity warning sign

WHAT TO DO

Set up the apparatus as shown in the diagram and display the warning sign on your bench. The Geiger tube should be at a fixed distance from the source and this distance should not be altered during the experiment.

Record the count rate (Io) with no absorber present

Use a pair of vernier calipers or a micrometer screw gauge to record the thickness (x) of one of the absorbers and then place it in the holder.

Record the count rate (I).

Repeat the experiment for the whole set of absorbers. Plot a graph of log I against absorber thickness (x).

Determine the absorption coefficient (for lead from your graph and the equation:

ln I = ln Io - x

# Text boxes

Lead absorber

Absorbing material holder

Geiger tube

Gamma source