Insulation of houses       

Much detailed work has been done on this topic and a few results are quoted below.


Part of house
Rate of loss of heat (W m-2)

Glass window



112

Double-glazed window

60

Single brick wall


66

Cavity wall



19

Foam-filled cavity wall


10

Un-insulated roof


30

Roof with 50 mm glass wool

10.4

Roof with 75 mm glass wool

7.8

Solid floor



9

All these figures are for a temperature difference across the surfaces of 20 oC. Of course, even perfect insula​tion is no use at all unless you cut out all the draughts!

U values
It is useful for architects to know the rate of loss of heat per square metre through a material when the difference of temperature across its faces is 1K. Clearly this will also depend on the thickness of the specimen so the values given below can only be regarded as approximate.

	Material
	U value

(W m-2 K-1)
	Heat loss from a typical house (K-1)

	Single brick wall
	2.0
	250

	Cavity brick wall (foam filled)
	0.7
	87.5

	Single pane glass window
	4.5
	67.5

	Double glazed window
	2.9
	43.5

	Tiled roof
	1.8
	180































Student investigation


Keeping warm in bed can be very important, especially for old people. In this investigation you will study the insulation properties of blankets and continental quilts of various types.





Fill a metal can with water at 100 oC and fix the probe of a digital thermometer to the outside of the can. (If such a thermometer is not available a thermocouple will do instead.)


Place the quilt or blanket over it and record the tem�perature at regular time intervals.


Repeat the procedure for several types of bed cover�ing. Which type would you recommend?










































































Example problem


Calculate the thickness of a single sheet glass need in a 0.5 m2 window to maintain a rate of loss of heat through it at 2 kW. Assume a temperature difference across the glass of 15oC.


Using dH/dt = - kAd/dx


2000 = 0.8x0.5x15/dx  therefore thickness (dx) = 0.8x0.5x15]/2000 = 0.003 m = 3.0 mm
































































































































PAGE  
1

