Telescopes

[image: image1.jpg]



The main purposes of a telescope used for astronomy are:

(a) to gather as much light as possible – this is done by using a large aperture lens or mirror. The amount of light gathered depends on the AREA of the lens – so a lens with an aperture of 300 mm diameter gathers four times a much light as one with an aperture of 150 mm diameter.

(b) to resolve fine detail – this is also done by using a large aperture lens or mirror. The larger the aperture the finer the detail that can be seen. (Usually called the resolving power of the telescope.)

(c) to magnify the image of a distant object – this is done by using a lens or mirror with a long focal length. The actual magnification of a telescope can be worked out from the formula:

Magnification = Focal length of the objective (F)/Focal length of eyepiece lens (f)

[image: image2.jpg]



Refracting telescopes – telescope using large lenses for their objectives

Ray diagram for a refracting telescope 

[image: image3.jpg]



Notice that the image formed by this type of telescope is upside down. 

Disadvantages of a refracting telescope

(a) the lenses are made of glass and because the light has to go through them the glass must be perfect – there must be no bubbles of air in the glass

(b) the lenses can only be supported around their edges and this is where they are thinnest and weakest. The largest telescope lens in the world is on of a metre in diameter at Yerkes Observatory in the USA

(c) lenses suffer from colour distortion – this means that when white light passes through the lens it is split into the colours of the spectrum. Because violet light refracts more than red light it is brought to a focus closer to the lens than the red light – this makes the image coloured and blurred. This effect is called chromatic aberration.


However for small telescopes refractors are usually better than refractors because they can be made of high quality glass with no defects and the colour effects can be eliminated by using special lenses called chromatic lenses.

Sites for an observatory

Telescopes are best placed in observatories on the tops of mountains for the following reasons:

(a) they are above dust and other types of atmospheric pollution

(b) they are above low cloud, mist and fog

(c) they are far from light pollution of large centres of population

(d) the air is thinner and so there is less atmospheric absorption

(e) there are fewer convection currents in the air so that the image does not suffer so much from image shake

Of course the Hubble Space telescope is in an even better position – there is no atmospheric absorption at all in space. 

Mountings

These are usually of one of two types:

(a) equatorial where one axis of the mounting is lined up with the axis of the earth. This type of mounting has the enormous advantage that when you have sighted on a star you only have to move the telescope about one axis in order to follow it across the sky.

(b) altazimuth – here the axes are horizontal and vertical. These  types of mountings are used by many very large telescopes as they can be computer controlled to move to follow the star, but the telescope must continually move on both axes – up or down and across.

Reflecting telescopes – ones that use a large mirror as their objective

Advantages of a reflecting telescope:

(a) the glass of the mirror does not have to be perfect throughout – only to have a perfect surface

(b) the mirror can be supported across the whole of its back

(c) they do not suffer from the colour defects of chromatic aberration

For these reasons all the really large telescopes in the world today are reflectors. The largest ones have mirrors up to 10m in diameter.

Types of reflecting telescope


The Newtonian reflector has an eyepiece at the side of the tube which makes observing comfortable.

The Cassegrain has an eyepiece below the main mirror which means that much heavy detection equipment can be fitted here.

The secondary mirrors in the telescope tubes do not affect the quality of the image – the small amount of light that they interrupt is negligible compared with the total amount received by the main mirror.

All mirrors used in astronomical telescopes are silvered on the front surface, otherwise the light would pass through the glass and both colour distortion and multiple images would result. The metal used is actually aluminium, vaporised onto the surface of the glass in a vacuum. It does not reflect quite so well as silver but is better over the complete range of wavelengths of visible light.

The curvature of the mirrors is usually accurate to within one eighth of a wavelength of green light!

Problems

1. What are the main purposes of telescopes used for astronomy?

2. What are the advantages of a reflector over a refractor?

3. You have four convex lenses. 

One of 100 cm focal length and 10 cm in diameter.  

One of 5 cm focal length and 1 cm in diameter. 

One of 100 cm focal length and 5 cm in diameter. 

One of 10 cm focal length and 1 cm in diameter. 

You want to use two of these to make a simple refractor which will gather as much light as possible and magnify the most.

Which would you use for:

(a) the objective lens

(b) the eyepiece lens

(c) what would be the magnification of the telescope that you have chosen?

4. Why are telescopes used for astronomy built on the top of high mountains?

5. Why is it extremely dangerous to look at the Sun through a telescope or even a pair of binoculars?

6. What is the advantage of a pair of binoculars over a telescope of the same objective lens diameter and the same magnification?

7. Why make telescopes with large lenses or mirrors?

8. Why is the Hubble Space telescope such an important instrument for observational astronomy although there are many telescopes on Earth which are bigger?

Ray from bottom of object





Ray from top of object





Parallel light from one point on a distant object





Example problem


Calculate the magnification of a telescope with an objective of focal length 1200 mm using two different eyepieces:


(a) focal length 25 mm	(b) 10 mm


(a) Magnification = 1200/25 = 48x		(b) Magnification = 1200/10 = 120x








Cassegrain reflector





Eyepiece lens, small aperture and short focal length





Objective lens, large aperture and long focal length





Newtonian reflector





Chromatic aberration – much exaggerated








PAGE  
1

