Measurement of e/m for the electron – using a fine beam tube or double beam tube

The aim of this experiment is to measure the specific charge (e/m) for the electron using a fine beam tube.

Remember that we are dealing with expensive and delicate apparatus and an H.T power supply capable of producing 300V.

YOU WILL NEED:

(a) A fine beam tube

(b) a suitable stand

(c) a power supply capable of giving an H.T output of from 0-300V (d.c. metered)

(d) a variable low voltage supply (0 - 25V)

(e) two variable low voltage supplies (0 - 6V)

(f) leads

(g) a pair of Helmholtz coils

(h) a ruler

(i) an ammeter (0 - 5A)

(i) a milliammeter (0 - 20 mA)

In this experiment use the electron gun that fires a beam tangentially round the tube.

Radial electron gun

Tangential electron gun

Helmholtz coils

Magnetic field perpendicular to the figure

Low pressure helium gas

WHAT TO DO:

IA

anodes

deflector

tangential gun

anode

-          +

0 - 25 V d.c.

switch

Heater

6.3 V d.c. or a.c.

-      +

0 - 300 V d.c.

Set up the circuit as shown in the following diagram but do not switch anything on until it has been checked by your teacher.

When the circuit has been checked switch on the heater to the tangential gun (a.c or d.c will do). Increase the heater voltage slowly but DO NOT exceed 6V.

Switch on the anode H.T supply and increase the voltage until a line appears. (This should occur at something above 100 V).  If the line is faint increase the heater current slightly but do not allow it to exceed 0.3 A 6.3 V.

6 V

+

Keep a check on the anode current and make sure that it does not rise above 20 mA. If this seems likely reduce the heater voltage slightly.

ALWAYS REDUCE THE ANODE VOLTAGE TO ZERO BEFORE SWITCHING ON THE HEATER SUPPLY.

Switch on the power supply to the coils and increase the voltage. If you have connected the coils correctly (in series) and with the right polarity a magnetic field will be produced that will make the electron beam bend in a circle within the tube. Eventually the field will reach a value so that the beam makes a full circle and seems to meet back at the electron gun.

Record the anode voltage (V), the radius of the electron orbit (R) and the current in the coils (I) (Not to be confused with the anode current (IA).

Measure the radius of the coils (r). The number of turns on each coil (N) should be marked on the coils.

Repeat the values for a few different values of the anode voltage and corresponding current in the Helmholtz coils.

A small p.d. applied between the deflector plates should help focus the beam. A typical value is about 25 V but higher values, d.c. or a.c. can be used.

CALCULATIONS

For the tangential gun

Double beam tube:                e/m = 2V/B2R2

Where B is the magnetic field produced by the coils, V is the anode voltage and R the radius of the electron orbit.

The value of B can be found from the equation:

B = o8NI/5√5r

Where N is the number of turns on one coil, I the current in the coils and r the radius of the coils.

Calculate B and then work out the value of e/m for the electron.