# PHOTOELECTRIC EMISSION FROM A ZINC PLATE – demonstration only

## Aim

The aim of the experiment is to demonstrate the emission of electrons due to photon absorption.

Ultra violet light

Negatively charged zinc plate

Gold leaf falls immediately the zinc plate is illuminated with ultra violet light

This experiment must only be done by the teacher.

## Apparatus required

Gold leaf electroscope     Polythene tile

Clean zinc plate

Ultra violet light source

Mounted mains tungsten filament lamp

Laser

EHT power supply     Leads

Experimental instructions

Set up the apparatus as shown in the diagram with the electroscope standing on a polythene tile on the bench.

Clean the zinc plate to remove any oxide and fix it onto the electroscope so that the mounting pin is in contact with the gold leaf.

Adjust the EHT to give an output of 1000 V. Connect the earthed terminal of the EHT to the case of the electroscope. Using a flying lead carefully touch the zinc plate to give it a positive potential.

Using the tungsten light bulb shine white light on the zinc plate and observe the effect.

Now use the laser instead and observe the effect.

Replace the laser with the ultra violet light source and shine ultra violet light onto the plate and observe the effect.

Finally change the polarity of the plate so that it is negative with respect to the electroscope casing. Shine ultra violet light onto the plate and observe the effect.

##### Analysis and conclusions

Explain the movement of the leaf in the last experiment is terms of the absorption of photons and the emission of photoelectrons.

Safety considerations:

High voltage

Eye protection advised

Laser light

Care should be taken wit the ultra violet light (and the laser if that option is carried out). Protective goggles should be worn if it seems necessary.

An alternative to the EHT power supply is to use polythene and cellulose acetate to give a positive or negative charge to the plate.